## REVIEWED BOQ-MUTIRITHIA
CONSTRUCTION OF MUTIRITHIA WATER SUPPLY AND SANITATION PROJECT
GRAND SUMMARY
S/No. | Item Desctription |  |  |  | Total Cost
A | Augmentation of Mutirithia water supply |  |  |  | 0
B | Assorted Fittings for Augmentation Of Mutirithia water supply |  |  |  | 0
C | Repair of 2 No. storage tanks in Molo office |  |  |  | 0
D | constrution of masonry chamber |  |  |  | 0
E | Microtunnelling (Road and Railway crossing) |  |  |  | 0
F | Rehabilitation of waste stabilization ponds |  |  |  | 0
G | Daywork rates |  |  |  | 0
| Provide 350,000 for supervison team |  |  |  | 0
| Sub-Total |  |  |  | 0
| Contigency |  | 5% |  | 0
Grand total (Inclusive of 16% VAT)
0
S/No. | Item Desctription | Units | QTY | Unit Cost | Total Cost
A | Augmentation of Mutirithia water supply
This Bill Only Covers Rates for Procurement of Pipes and Associated Fittings, Transport to Contractor's Site Store and Storage. Including Supply of assorted Jointing materials, couplings, Bolts, Nuts, excavation and back filling, laying and joining. the minimum depth to be excaveted shall be 1000mm from the lowest ground level point etc.
1 | HDPE pipe PN 12.5, OD 63 mm | Rm | 10300 |  | 0
2 | HDPE pipe PN 12.5, OD 50 mm | Rm | 7000 |  | 0
3 | HDPE pipe PN 12.5, OD 32 mm (in 200 m rolls) | Rm | 18000 |  | 0
4 | PN 25, 20mm PPR pipes (No installation required) | Rm | 700 |  | 0
5 | Excavate, lay, backfill at a minimum depth of 1000mm from the lowest ground level point | Rm | 35300 |  | 0
6 | Hydraustatic pressure testing | Rm | 35300 |  | 0
B | Assorted Fittings for Augmentation Of Mutirithia water supply
1 | Female Saddle connectors 63 x 50 mm | Nr | 10 |  | 0
2 | Female Saddle connectors 63 x 32 mm | Nr | 65 |  | 0
3 | Female Saddle connectors 50 x 32 mm | Nr | 25 |  | 0
4 | Female saddle connector 32 x 20 | Nr | 500 |  | 0
5 | Female saddle clamp 50 x 20 | Nr | 80 |  | 0
6 | Female saddle clamp 63 x 20 | Nr | 40 |  | 0
7 | 11/2" Pegglar Gate valaves | Nr | 10 |  | 0
8 | 1" pegglar gate valves | Nr | 90 |  | 0
9 | 1/2 " pegglar gate valves | Nr | 620 |  | 0
10 | HDPE male adaptor 50 x 11/2" | Nr | 10 |  | 0
11 | HDPE male adaptor 63 x 1" | Nr | 60 |  | 0
12 | HDPE male adaptor 50 x 1" | Nr | 25 |  | 0
13 | HDPE male adaptor 20 x 1/2" | Nr | 1250 |  | 0
14 | HDPE couplers 50 | Nr | 70 |  | 0
15 | HDPE couplers 32 | Nr | 100 |  | 0
16 | butt fusion joint for 63 mm HDPE pipe | Nr | 110 |  | 0
17 | HDPE end caps 63 mm | Nr | 5 |  | 0
18 | HDPE end caps 50 mm | Nr | 10 |  | 0
19 | HDPE end caps 32 mm | Nr | 85 |  | 0
20 | 11/2" Hexagonal nipple | Nr | 10 |  | 0
21 | 1" Hexagonal nipple | Nr | 85 |  | 0
22 | 1/2" GI Long nipple | Nr | 620 |  | 0
22 | 1/2" GI elbows | Nr | 2500 |  | 0
23 | Threaded steel flanges 50 mm | Nr | 6 |  | 0
24 | HDPE Flanged adaptors 63 x 2" | Nr | 6 |  | 0
25 | AVK Sluice valve 2" | Nr | 3 |  | 0
26 | 2" Flanged Y - Strainer | Nr | 3 |  | 0
27 | 2" GI Class B pipe | Nr | 1 |  | 0
28 | 24 mm Bolts and nuts with spring washers | Nr | 60 |  | 0
29 | 4 MM Rubber insertion gasket | M2 | 2 |  | 0
30 | Bulk meters DN 50 mm, Class R> 160 (Tech. Specs attached) | Nr | 3 |  | 0
31 | DN 15 mm, Class R > 250 (Tech specs. Attached) | Nr | 620 |  | 0
32 | ARI air release valves , 1" | Nr | 5 |  | 0
C | Repair of 2 No. storage tanks in Molo office each 100 m3
1 | Hacking of the inner walls and floor of the tank | M2 | 188 |  | 0
2 | Hacking of the Outer walls and floor of the tank | M2 | 125 |  | 0
3 | Plaster the inner walling with chicken mech at a thickness of 20mm thick | M2 | 188 |  | 0
4 | Plaster the outer wall at a thickness of 15 mm | M2 | 125 |  | 0
D | constrution of masonry chamber
1 | Provide all materials and construct masonry chambers, internal dimensions 1000mm x 1200mmx 1200mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, rendering of exposed blockwork etc. | Nr | 3 |  | 0
2 | Provide all materials and construct masonry chambers, internal dimensions 600mm x 600mmx 1200mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, rendering of exposed blockwork etc. | Nr | 5 |  | 0
E | Microtunnelling (Bituminous Road and Railway crossing)
Rates quoted shall be deemed to include for costs incurred on traffic control, signage and safety measures during execution of the works.and provision of DWC sleeves and its installation
1 | Approval cost from the authorities. Allow 800, 000 as provisional sum | Ps |  |  | 0
2 | Below the Bituminous road as directed. Bore diameter to be 100mm | Rm | 24 |  | 0
3 | Below the railway crossing as directed. Bore size of 100 mm. the cost to include wayleave processing | Rm | 17 |  | 0
F | Rehabilitation of 3-No. waste stabilization ponds
1 | Desilting and comapcting with a roller compactor of the ponds measuring
i | Anaerobic pond 52 x 28 x 5 metres | m3 | 7280 |  | 0
ii | Fucultative pond 48 x 26x 2.5 metres | m3 | 3120 |  | 0
iii | Aerobic pond 50 x 35 x 1.5 metres | m3 | 2625 |  | 0
2 | Unblocking and repair of one 6" waste pipe leakage and clearance of sewer site | Nr | 1 |  | 0
3 | Replace the manhole covers with reinforced concrete covers | Nr | 10 |  | 0
4 | Fencing using 7 feet high concrete post and installation of 18 gauge 7 feet high chain link mesh | Rm | 574 |  | 0
5 | Installation of steel gate 16 gauge tubes measuring 50mm x 50 mm x 1.5 mm thickness as guided by the engineer | Nr | 2 |  | 0
6 | divert all seasonal rivers, storm water by cutting a diversion drain at the edge of the ponds embarkment to the river nearby | Lm | 160 |  | 0
7 | Dispose the cut off materials, removed overgrowth and any other solid matter obtained from the ponds to the designated area as directed by the engineer | Nr | 50 |  | 0
G | designated area as directed by the engineer.
1 | LABOUR
The rates inserted hereafter should include all such costs as insurance, travel time, overtime expenses, accomodation, use and maintenance of small tools of trade, Contractors overheads and profit. Only time engaged upon work instructed by the Engineer under this Bill will be paid for.
1.1 | Unskilled labour | hr | 30 |  | 0
1.2 | Foreman | hr | 30 |  | 0
1.3 | Driver | hr | 30 |  | 0
1.4 | Mason | hr | 30 |  | 0
1.5 | Carpenter | hr | 30 |  | 0
1.6 | Plumber | hr | 30 |  | 0
1.7 | Electrician | hr | 30 |  | 0
1.8 | Plant Operator | hr | 30 |  | 0
1.9 | Supervisor | hr | 30 |  | 0
1.1 | Pipelayer | hr | 30 |  | 0
1.11 | Painter | hr | 30 |  | 0
1.12 | Concretor | hr | 30 |  | 0
1.13 | Technician | hr | 30 |  | 0
1.14 | Watchman | hr | 30 |  | 0
1.2 | MATERIALS
Materials shall comply with the relevant Technical Specifications and shall be subject to the approval of the Resident Engineer. The rate to include for delivery, storage, handling, Contractor's overheads, etc.
1.2.1 | Building sand | ton | 3 |  | 0
1.2.2 | Ordinary portland cement in 50 kg bags | No. | 3 |  | 0
1.2.3 | Fine aggregate | ton | 36 |  | 0
1.2.4 | Coarse aggregate | ton | 36 |  | 0
1.2.5 | Reinforcement steel. | ton | 25 |  | 0
1.2.6 | Concrete Class 25 | m3 | 100 |  | 0
1.2.7 | Imported Fill | m3 | 750 |  | 0
1.2.8 | Hardcore | m3 | 100 |  | 0
1.2.9 | Formwork | m2 | 100 |  | 0
1.2.10 | Petrol | L | 100 |  | 0
1.2.11 | Diesel | L | 100 |  | 0
1.2.12 | Lubricants | L | 100 |  | 0
1.2.13 | Epoxy Paint | L | 40 |  | 0
1.2.14 | Emulsion Paint | L | 40 |  | 0
1.2.15 | Gloss Paint | L | 40 |  | 0
1.3 | EQUIPMENT
Rates to include for all operation and maintenance of equipment, cost of fueling and lubrication, etc.
1.3.1 | Excavator | hr | 100 |  | 0
1.3.2 | Dozer 70Kw | hr | 100 |  | 0
1.3.3 | Grader Tractor | hr | 100 |  | 0
1.3.4 | Mobile generator 15 kVA | hr | 10 |  | 0
1.3.5 | 4 WD Pickup 1 tonne | hr | 20 |  | 0
1.3.6 | Concrete mixer type 5/3.5 | hr | 3 |  | 0
1.3.7 | Concrete vibrator poker type N.D. 50 mm | hr | 8 |  | 0
1.3.8 | Dewatering pump 50mm dia suction end | hr | 5 |  | 0
1.3.9 | Tipper Truck 7 tonne | hr | 24 |  | 0
1.3.10 | Tipper Truck 18 tonne | hr | 24 |  | 0
1.3.11 | Electrical welding set including electrodes | hr | 50 |  | 0